General Safety Information

All industrial gases have properties which, if proper precautions are not followed, may cause injury, and possibly death. This article outlines the hazardous properties of the principal gases supplied by High Country Gas & Supply, and describes the precautions and safety practices which must be followed to prevent accidents. It must be noted that it is impossible, in a article of this size to list every conceivable hazard which might occur. Therefore, the purpose of this article is to list the commonly recognized hazards, precautions, and recommended safety practices for a group of common industrial gases. If you, as the gas user, are faced with a safety hazard that you don't feel you can control or mitigate, or you simply have a question regarding a gas or its associated equipment, contact High Country Gas & Supply immediately.

General Precautions

In most instances, accidents are caused by improper application, misuse of the gas, or its container by inadequately trained personnel. Other major causes of accidents (in the use of industrial gases) are: 1) Improper installation. 2) Failure to provide proper and adequately maintained equipment. 3) Failing to follow the supplier's instructions in the operation of regulators and other compressed gas accessory equipment.

Proper training is essential. He or she must be able to recognize emergency conditions, knowing what action to take under such circumstances, while preventing exposure. A review of all label information and appropriate MSDS should be completed as a part of the training. 

The following are general precautions that should be observed when handling any compressed gas.

- Never identify contents by container color, except in the case of medical gases.

- Color codes are not uniform throughout the compressed gas industry.

- Cylinder contents must be identified by a decal, label, tag, or stenciling (all referred to herein as labeling). If an identifying label is lacking or not legible, return the container to the supplier, unused.

- Industrial gas containers are equipped with outlet connections that are in accordance with "Compressed Gas Association's" standard for "Compressed Gas Cylinder Valve Outlet and Inlet Connections." Such fittings are designed to prevent the connection of a gas container to a gas system with an incompatible gas. Never circumvent this protection by utilizing adapters.

- Never abuse gas cylinders by using them for rollers, blocks, striking arcs, etc.

- Never attempt to lift cylinders by the valve protection cap.

- Always move large cylinders with a hand-truck specially designed for transporting cylinders.

- Do not store or transport compressed gases in closed vans or automobiles.

- Always secure cylinders in transit or in storage to insure against their tipping over.

- Always use a pressure reducing regulator that is properly conditioned for the gas being used.

- Never attempt to transfill gas from one cylinder to another, or mix any gases in a cylinder.

- It is the responsibility of an employer to be certain that all employees using a gas are familiar with its specific properties and are properly trained for handling that gas.